Monthly Maintenance Checklist for Cardiac Science Automated External Defibrillators

|  |  |  |
| --- | --- | --- |
| Unit Serial #: | Office: | POC: |

*Initial boxes as items are checked off. Keep completed form on file.*

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Jan | Feb | Mar | Apr | May | June | July | Aug | Sept | Oct | Nov | Dec |
| ***Step 1***  Open Lid |  |  |  |  |  |  |  |  |  |  |  |  |
| ***Step 2***  Status indicator should turn red |  |  |  |  |  |  |  |  |  |  |  |  |
| ***Step 3***  Status indicator should turn back to green within 5 seconds |  |  |  |  |  |  |  |  |  |  |  |  |
| ***Step 4***  Check expiration dates on pads |  |  |  |  |  |  |  |  |  |  |  |  |
| ***Step 5***  Listen for voice prompts |  |  |  |  |  |  |  |  |  |  |  |  |
| ***Step 6***  Close lid and confirm green status indicator |  |  |  |  |  |  |  |  |  |  |  |  |
| Date |  |  |  |  |  |  |  |  |  |  |  |  |
| Initials |  |  |  |  |  |  |  |  |  |  |  |  |

Daily Maintenance: Verify that the Status indicator is green.